## Disclaimer
Our policy is one of continuous development. Accordingly the design of our products may change at any time.
Whilst every effort is made to produce up to date literature, this document should only be regarded as a guide and is intended for information purposes only.
Its contents do not constitute an offer for sale or advice on the application of any product referred to in it. We cannot be held responsible for any reliance on any decisions taken on its contents without specific advice.

## Multilin Agile Motor Cortec
Information required with Order :
Variants | Order Number
|  | 1 - 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12-13 | 14 | 15
Multilin Agile Motor Application | bar: 5 to 10
Motor Protection Relay- Non directional |  | P24N | bar: 5 to 10
Motor Protection Relay- Directional |  | P24D | bar: 5 to 10
Application Package Options | bar: 5 to 10
Base | bar: 5 to 10
Base + 27 LVRT, ABS, 81R |  | P24D | [10 empty] | Future option | bar: 5 to 10
Current / Voltage Inputs | bar: 6 to 10
Standard Earth (Ground) CT |  | P24D/N | bar: 6 to 10
Sensitive Earth (Ground) Fault CT |  | P24D/N | 6: 2
Hardware Options | bar: 7 to 10
EIA RS485 serial comms – with RJ45 Engineering Port (only) |  | 20TE/30TE | 7: 2
EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 copper |  | 20TE/30TE | 7: 5
EIA RS485 serial comms and station bus Ethernet - Single channel fiber |  | 20TE/30TE | 7: 6
2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | 20TE | bar: 7 to 10
2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | 20TE | bar: 7 to 10
2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber |  | 20TE | bar: 7 to 10
1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | 30TE | bar: 7 to 10
1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | 30TE | bar: 7 to 10
1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber |  | 30TE | bar: 7 to 10
Binary Input / Output Options |  | Case | bar: 8 to 10
5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog |  | 20TE | bar: 8 to 10
8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog |  | 20TE | bar: 8 to 10
11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog |  | 20TE/30TE | bar: 8 to 10
14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog |  | 20TE/30TE | bar: 8 to 10
16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog |  | 30TE | bar: 8 to 10
22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog |  | 30TE | bar: 8 to 10
30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog |  | 30TE | bar: 8 to 10
24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog |  | 30TE | bar: 8 to 10
16 inputs (3 for Trip Circuit Supervision) + 11 outputs + 1 watchdog (Ring Terminals) |  | 30TE | bar: 8 to 10
22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog (Ring + Pin hybrid terminals) |  | 30TE | bar: 8 to 10
Communication protocols / Cybersecurity | bar: 9 to 10
DNP3.0 / Modbus / IEC 60870-5-103 |  |  | 9: 2
IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 |  |  | 9: 3
IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 |  |  | 9: 4
Case | bar: 10
20TE Flush (4 inch width) with text display | bar: 10
30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | bar: 10
30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | bar: 10
30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | bar: 10
30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | bar: 10
Software upgrade only (via After Sales) |  |  | 10: 0
Language
English (UK) / English (US) / French / Spanish / Russian / Turkish |  |  | 11: 0
English (UK) / Polish / German | bar: 5 to 9; 11
English (UK) / English (US) / Polish / German | bar: 11
Software Version
08: Initial release |  |  | 12-13: 08
Customization / Regionalization | bar: 5 to 12-13
Regular (IEC standards and 50Hz/1 amp based default settings) |  |  | 14: 0
IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration |  |  | 14: 6
Customer specific | bar: 14
Hardware design suffix
Enhanced model | bar: 15
Note
* | Offers a single line diagram for control, but with a basic, fixed bay template only. G and N options are required for a configurable mimic diagram.

## Configurator
To enable only current variants to be offered, please specify ACTUAL or REQUIRED delivery date here
Format = dd/mm/yy (where d=day, m=month, y=year)
|  |  | 1-4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12-13 | 14 | 15
Model Type (Multilin Agile) |  |  | P24N | B | 1 | 2 | J | 2 | 0 | 0 | 08 | 0 | E
Model Type
P24N
Application Version
B
Current/Voltage Inputs
1
Hardware Options | [13 empty] | 10P14N16-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P)
2
Binary Input / Output Options
J
Communications Protocol
2
Case
0
Language
0
Software Version
08
Customization / Regionalization
0
Design Suffix
E
Note
* | Offers a single line diagram for control, but with a basic, fixed bay template only. G and N options are required for a configurable mimic diagram.
*** | TGFD (with standard CT)
# | P40 Agile Enhanced is undergoing transition to our new harmonized brand Multilin Agile

## Software Upgrade P40A Enhanced
REQUEST FOR SOFTWARE UPGRADE
ALL SOFTWARE UPGRADES ARE DEDICATED TO SPECIFIC RELAY SERIAL NUMBERS SO ALL REQUIREMENTS MUST BE SUBMITTED BY EMAIL QUOTING E14D-SOFTWARE, WITH THIS DOCUMENT AS AN ATTACHMENT, TO after.sales@ge.com., WHO WILL DEAL WITH YOUR REQUEST.
Character/digit # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 &13 | 14 | 15
Cortec Code of existing model variant : | P | 2 | 4 | D
Cortec Code of required model variant : Derived by option selection from the 'Configurator' worksheet in this workbook | P | 2 | 4 | N | B | 1 | 2 | J | 2 | 0 | 0 | 08 | 0 | E
Character/digit # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Serial number(s) of existing model variant(s) : | 3
3
3
3
3
3
3
3
3
3
3
If more than 10 relays (by serial number) are to be updated, please submit a supplementary list of the additional serial numbers
Version : | A1 | [7 empty] | 2019-01-17

## Documents P14D Enhanced (hidden)
P24NB12J200080E
External Connection Diagram | : | 10P14N16-1
Outline Diagram | : | ?
P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P)

## Master Text
P24NB12J200080E
Motor Protection Relay- Non directional
Application Version :
Base
In/Vn Rating :
Standard Earth (Ground) CT
Hardware Options :
EIA RS485 serial comms – with RJ45 Engineering Port (only)
Binary Input / Output Options
24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog
Communication protocol :
DNP3.0 / Modbus / IEC 60870-5-103
Case :
Software upgrade only (via Aftersales)
Languages :
(English (UK) / English (US) / French / Spanish/ Russian / Turkish
Software Version :
08
Setting Files :
Regular (IEC standards and 50Hz/1 amp based default settings)
Design Suffix
Enhanced model
Issue :
Version : | A | Final product release CID008515 - 03/09/2024

## Database (hidden)
| 1 | P24N |  |  |  | Description |  |  | Significator |  |  |  |  | Selector to display the available Mounting options for each I/O version
1 | Motor Protection Relay- Non directional | P24N |  |  | P24D | P24N | P94V |  | P24D | P24N | P94V
2 | Motor Protection Relay- Directional | P24D | [11 empty] | J3 | J | 3 | ??
3 |  | 0 | [11 empty] | Standard (6 logic inputs + 7 relay outputs + 1 WD) | A | 1 | A2 | A1 | A | 20TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 0 | B | C | E | G | N
[14 empty] | Standard (5 logic inputs + 7 relay outputs + 1 WD) suitable for trip circuit supervision | B | 1 | A3 | A2 | A | 30TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 0 | B | C | E | G | N
| 1 | B |  |  | 1 | 2 |  |  | 1 | 2 |  |  |  | Standard (12 logic inputs + 11 relay outputs + 1WD) | C | 1 | B3 | B3 | B | 20TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display |  |  |  |  | 0 | B | B | B | B | B
1 | Base | B |  |  | Base | Base | Base |  | B | B | B |  |  | 'Standard (11 logic inputs + 11 relay outputs + 1WD) suitable for trip circuit supervision | D | 2 | C3 | C3 | C | 20TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display |  |  |  |  | 0 | B | B | B | B | B
2 | Base + 79 reclose | L |  |  | Base + 32/32N power, 79/25 reclose, df/dt frequency, 21FL fault locator | Base + 79 reclose | Base + 79/25 reclose |  | L | L | P |  |  |  |  | 1 | C3 | D1 | D | 20TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display |  |  |  |  | 0 | B | B | B | B | B
3 | P14DL + TGFD transient ground fault (standard CT only)*** | Z |  |  | 0 | P14DL + TGFD transient ground fault (standard CT only)*** |  |  | 0 | Z | P |  |  |  |  | 2 | C4 | D2 | D | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
4 | [15 empty] | 1 | D3 | D3 | D | 20/30TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 0 | B | C | E | G | N
5 | [12 empty] | P14D |  |  | 2 | D4 | E1 | E | 20TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display |  |  |  |  | 0 | B | B | B | B | B
6 | [12 empty] | 1 | 2 | 3 | 1 | E3 | E2 | E | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
7 | [12 empty] | Standard Earth (Ground) CT | Standard Earth (Ground) CT | Standard Earth (Ground) CT | 1 | F2 | E3 | E | 20/30TE | Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 0 | B | C | E | G | N
8 | [12 empty] | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT |  | 1 | G2 | F2 | G | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
9 | [12 empty] | 1 | 1 | 1 | 2 | G3 | G2 | G | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
10 | [12 empty] | 2 | 2 |  | 1 | H3 | H2 | H | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
11 | [15 empty] | 2 | H4 | J2 | H | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
12 | [15 empty] | 2 | H3 | J1 | J | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
13 | [16 empty] | H4 | J2 | J | 30TE | Software upgrade only (via Aftersales) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  | 0 | C | E | G | N | N
14
15
16
17 | [11 empty] | May need if further applications are introduced
| 1 | 1 |  |  | 1 | 3 |  |  | 1 | 3
1 | Standard Earth (Ground) CT | 1 |  |  | Standard Earth (Ground) CT | Standard Earth (Ground) CT | Standard Earth (Ground) CT |  | 1 | 1 | 1
2 | Sensitive Earth (Ground) Fault CT | 2 |  |  | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT |  | 2 | 2 | 2
[29 empty] | 10P14N03 sht 1 | 10P14N04 sht 1
| 1 | 2 | 3 |  | A | B | C |  | A | B | C |  | A | B | C | D |  | A | B | C | D | [7 empty] | 10P14N03 sht 2 | 10P14N04 sht 2
1 | EIA RS485 serial comms – with RJ45 Engineering Port (only) | 2 | 3 |  | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) |  | 2 | 2 | 2 |  | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) |  | 2 | A | 2 | 2 | [7 empty] | 10P14N03 sht 3 | 10P14N04 sht 3
2 | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | 5 | 3 |  | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper |  | 5 | 5 | 5 |  | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper |  | 5 | A | 2 | 2 | [7 empty] | 10P14N03 sht 2 | 10P14N04 sht 2
3 | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | 6 | 3 |  | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre |  | 6 | 6 | 6 |  | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre |  | 6 | A | 2 | 2 | [7 empty] | 10P14N03 sht 3 | 10P14N04 sht 3
4 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | A | 1 |  | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | A | A | A |  | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | A | A | 2 | 2
5 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | B | 1 |  | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 |  | B | B | B |  | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45
6 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | C | 1 |  | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber |  | C | C | C |  | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber
7 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | D | 2 |  | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | D | D | D |  | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | [11 empty] | HW | Code
8 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | E | 2 |  | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | E | E | E |  | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | [11 empty] | 2 | 3
9 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | F | 2 |  | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | F | F | F |  | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | [11 empty] | 5 | 3
10 | 0 | F | 1 |  | 0 | 0 | 0 | 0 | F | F | E |  | 0 | 0 | 0 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | [11 empty] | 6 | 3
11 | 0 | F | 2 | [5 empty] | F | F | E |  |  |  |  | #N/A | [11 empty] | A | 1
12 | 0 | F | 2 | [5 empty] | F | F | E | [16 empty] | B | 1
13 | 0 | F | 2 | [5 empty] | F | F | E |  |  | P24N | P24D | P94V | P24N | P24D | P94V | [8 empty] | C | 1
14 | 0 | F | 2 | [5 empty] | F | F | E |  |  | Base | Base | Base | B | B | B | [8 empty] | D | 2
15 | 0 | F | 2 | [5 empty] | F | F | E |  |  | Base + 79 reclose | Base + 79 reclose | Base + 79/25 reclose | L | L | P | [8 empty] | E | 2
16 | 0 | F | 2 | [5 empty] | F | F | E |  |  | 0 | 0 |  | 0 | 0 | P | [8 empty] | F | 2
17 | 0 | 0 | 2 | [10 empty] | Standard Earth (Ground) CT | Standard Earth (Ground) CT | Voltage Only | 1 | 1 | 1
18 | 0 | 0 | 2 | [10 empty] | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT |  | 2 | 2
19 | 0 | 0 | 2
20 |  |  |  |  | 2
1
[22 empty] | 1 | 11 |  | 1 | 11
[21 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0
| 1 | J |  |  | 1 | 6 | 8 | A | D | N | Q | 1 | 6 | 8 | A | D | N | Q |  |  | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | 0
1 | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | B |  |  | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | B | B | B | D | D | D | D |  |  | 0 | 0 |  | #VALUE! | #VALUE! | 0
2 | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | C | 1 |  | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | C | C | C | E | E | E | E | [5 empty] | #VALUE! | #VALUE! | 0
3 | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | D | 1 |  | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog |  | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | D | D | D | E | F | F | F | [5 empty] | #VALUE! | #VALUE! | 0
4 | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | E | 1 |  | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog |  | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | E | E | E | E | G | G | G | [5 empty] | #VALUE! | #VALUE! | 0
5 | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | F | 1 |  | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog |  | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | F | F | F | E | H | H | H
6 | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | G |  |  | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog |  | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | G | G | G | E | J | J | J
7 | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | H |  |  | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog |  |  |  |  | H | H | H | E | J | J | J
8 | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | J |  |  | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog |  |  |  |  | J | J | J | E | J | J | J
[13 empty] | 2 | 5 | 6 | 8 | A | N | Z |  | 2 | 5 | 6 | 8 | A | N | Z
| 1 | [11 empty] | DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 |  | 2 | 3 | 3 | 3 | 3 | 3 | 3
1 | DNP3.0 / Modbus / IEC 60870-5-103 | 2 |  |  | DNP3.0 / Modbus / IEC 60870-5-103 | DNP3.0 / Modbus / IEC 60870-5-103 | DNP3.0 / Modbus / IEC 60870-5-103 |  | 2 | 2 | 2 |  |  | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 |  |  | 4 | 4 | 4 | 4 | 4 | 4
2 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0
3 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  | 0 | [6 empty] | 0 | 0 | 0
6 |  | 0 | [6 empty] | 0 | 0 | 0
7 |  | 0 | [6 empty] | 0 | 0 | 0
8 |  | 0 | [6 empty] | 0 | 0 | 0
| 1 | J3 |  |  | A1 | A2 | AA |  | C | D | E1 | F1 | J |  |  | A1 | A2 | AA | C | D | E1 | F1 | J |  | A | B | C | D |  | A | B | C | D
1 | Software upgrade only (via Aftersales) | 0 |  |  | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) |  | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) |  | #N/A | #N/A | #N/A | #N/A
2 | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | C |  |  | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display |  |  | B | B | B | B | B | B | B | B |  | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display |  | #N/A | #N/A | #N/A | #N/A
3 | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | E |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* |  |  | C | C | C | C | C | C | C | C |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* |  | #N/A | #N/A | #N/A | #N/A
4 | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | G |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* |  |  | E | E | E | E | E | E | E | E |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* |  | #N/A | #N/A | #N/A | #N/A
5 | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | N |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) |  |  | G | G | G | G | G | G | G | G
6 | 0 | N |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) |  |  | N | N | N | N | N | N | N | N
7
1
1 | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | 0 |  |  | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | (English (UK) / English (US) / French / Spanish/ Russian / Turkish |  | 0 | 0 | 0
2 | English (UK) / English (US) / Polish / German | 1 |  |  | English (UK) / English (US) / Polish / German | English (UK) / English (US) / Polish / German | English (UK) / English (US) / Polish / German |  | 1 | 1 | 1
3 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0
2026-07-29
1
1 | Initial Release | 08 | E
2 | 05: 30TE, TGFD, YN, 32N, 27Q/T, 21BL, extended I/O, IEC61850 & advanced cybersecurity enhancements | 05 | E |  | xx: Initial release | xx: Initial release | xx: Initial release |  | XX | XX | XX |  | E | xx: Initial release | XX
3 | 03: Fast CB Fail reset, IEC61850 LN additions, other SW improvements | 03 | E |  | xx: Initial release | xx: Initial release | xx: Initial release |  | XX | XX | XX
4
5
6
7
8
9
10
11
| 1 | a
1 | Regular (IEC standards and 50Hz/1 amp based default settings) | 0 |  |  | Regular (IEC standards and 50Hz/1 amp based default settings) | Regular (IEC standards and 50Hz/1 amp based default settings) | Regular (IEC standards and 50Hz/1 amp based default settings) |  | 0 | 0 | 0
2 | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration | 6 |  |  | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration |  | 6 | 6 | 6
3 | Customer specific | A |  |  | Customer specific | Customer specific | Customer specific |  | A | A | A
[16 empty] | 06: Moving Avg. Voltage Protection, Volt/Hertz (P94VB), IEC61850 LN & SW enhancements | 06
| 1 | e | [11 empty] | 05: 30TE, TGFD, YN, 32N, 27Q/T, 21BL, extended I/O, IEC61850 & advanced cybersecurity enhancements | 05
1 | Enhanced model | E | [13 empty] | 03: Fast CB Fail reset, IEC61850 LN additions, other SW improvements | 03 | 03 | 03
[14 empty] | 05: 30TE, TGFD, YN, 32N, 27Q/T, 21BL, extended I/O, IEC61850 & advanced cybersecurity enhancements | 05
2026-08-03
02 | 2026-08-03 | E | Withdrawn
03 | 2026-08-04 | E
05 | 2026-08-05 | E | [7 empty] | #N/A
08 | 2026-08-07 | E | [7 empty] | #N/A
| KEY DATE | [7 empty] | 1 | 1 | 2
| 2026-08-07 | [7 empty] | 2 | #N/A | #N/A
[9 empty] | 6 | 10P14N03 SHT 1 | 10P14N04 SHT 1
[9 empty] | A | 10P14N03 SHT 2 | 10P14N04 SHT 2
|  | 1J0 | 10P14N11 | 8I/P & 8O/P Std EF for KCGG140/142 Retrofit |  |  |  |  | B | 10P14N03 SHT 3 | 10P14N04 SHT 3
|  | 1A2 | 10P14N01 | 8I/P & 8O/P Std EF |  |  |  |  | C | 10P14N03 SHT 2 | 10P14N04 SHT 2
|  | 1A4 | 10P14N01 | 8I/P & 8O/P Std EF |  |  |  |  | D | 10P14N03 SHT 3 | 10P14N04 SHT 3
|  | 1AB | #N/A | 8I/P & 8O/P Std EF W/Ethernet |  |  |  |  | E | 10P14N03 SHT 2 | 10P14N04 SHT 2
|  | 1AC | 10P14N05 | 11I/P & 12O/P Std EF & 2xRS485 |  |  |  |  | F | 10P14N03 SHT 3 | 10P14N04 SHT 3
|  | 1BC | 10P14N07 | 11I/P & 12O/P Std EF & TCS
|  | 1CC | 10P14N09 | 13I/P & 12O/P Std EF
|  | 1DC | 10P14N12
|  | 1E1 | 10P14N12
|  | 1EB | 10P14N13
|  | 1FC | 10P14N02 | 8I/P & 8O/P SEF
|  | 2AB | #N/A | 8I/P & 8O/P SEF W/Ethernet
|  | 2AC | 10P14N06 | 11I/P & 12O/P SEF & 2xRS485
|  | 2BC | 10P14N08 | 11I/P & 12O/P SEF & TCS
|  | 2CC | 10P14N10 | 13I/P & 12O/P SEF
|  | 2DC | 10P14N12
|  | 2E1 | 10P14N12
|  | 2EB | 10P14N13
2FC
1
| EIA RS485/IRIG-B (demodulated) | 20TE/30TE | 6 | 1
| EIA RS485/IRIG-B (demodulated) and Ethernet - Single channel Fibre/Copper (setting configurable as Failover*) | 30TE | 8
| EIA RS485/IRIG-B (demodulated) and EIA RS485 | 30TE | A | 1
| EIA RS485/IRIG-B (demodulated) and Dual Redundant Copper Ethernet - 2x RJ45 Copper (setting configurable as Failover) | 30TE/40TE | B | 1
| EIA RS485/IRIG-B (demodulated) and Dual Redundant Fibre Ethernet - 2x multimode fibre (setting configurable as Failover) | 30TE/40TE | C | 1
| EIA RS485/IRIG-B (demodulated) and Dual Redundant Copper Ethernet - 2x RJ45 Copper (setting configurable as RSTP) | 30TE/40TE | D | 1
| EIA RS485/IRIG-B (demodulated) and Dual Redundant Fibre Ethernet - 2x multimode fibre (setting configurable as RSTP) | 30TE/40TE | E | 1
| EIA RS485/IRIG-B (demodulated) and Dual Redundant Copper Ethernet - 2x RJ45 Copper (setting configurable as PRP or HSR) | 30TE/40TE | F | 1
| EIA RS485/IRIG-B (demodulated) and Dual Redundant Fibre Ethernet - 2x multimode fibre (setting configurable as PRP or HSR) | 30TE/40TE | G | 1
| 40TE only - EIA RS485, EIA RS485/IRIG-B (demodulated) and Dual Redundant Copper Ethernet - 2x RJ45 Copper (setting configurable as Failover) | 40TE | H | 1
| 40TE only - EIA RS485, EIA RS485/IRIG-B (demodulated) and Dual Redundant Fibre Ethernet - 2x multimode fibre (setting configurable as Failover) | 40TE | J | 1
| 40TE only - EIA RS485, EIA RS485/IRIG-B (demodulated) and Dual Redundant Copper Ethernet - 2x RJ45 Copper (setting configurable as RSTP) | 40TE | K | 1
| 40TE only - EIA RS485, EIA RS485/IRIG-B (demodulated) and Dual Redundant Fibre Ethernet - 2x multimode fibre (setting configurable as RSTP) | 40TE | L | 1
| 40TE only - EIA RS485, EIA RS485/IRIG-B (demodulated) and Dual Redundant Copper Ethernet - 2x RJ45 Copper (setting configurable as PRP or HSR) | 40TE | M | 1
| 40TE only - EIA RS485, EIA RS485/IRIG-B (demodulated) and Dual Redundant Fibre Ethernet - 2x multimode fibre (setting configurable as PRP or HSR) | 40TE
2
[7 empty] | 1 | J | 1 | 0
1J10 | 10P14N16-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) | [6 empty] | 1 | 1
[9 empty] | 6 | 2
[9 empty] | 8 | 1
[9 empty] | A | 3
[9 empty] | B | 4
|  |  | 1 | A | 1 | 0 |  |  | C | 3
1A10 | 10P14N01-1 | P14N NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (8 I/P & 8 O/P) | 1 | A | 1 | 2 |  |  | D | 4
1A12 | 10P14N11-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) FOR KCGG 140/142 RETROFIT | 1 | A | 1 | 3 |  |  | E | 3
1A13 | 10P14N01-1 | P14N NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (8 I/P & 8 O/P) | 1 | A | 1 | 6 |  |  | F | 4
1A16 | 10P14N01-1 | P14N NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (8 I/P & 8 O/P) | 1 | A | 1 | 6 |  |  | G | 3
1A16 | 10P14N01-1 | P14N NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (8 I/P & 8 O/P) | 1 | A | 1 | 6 |  |  | H | 4
1A16 | 10P14N11-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) FOR KCGG 140/142 RETROFIT | 1 | A | 1 | 6 |  |  | J | 3
1A16 | 10P14N11-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) FOR KCGG 140/142 RETROFIT | 1 | A | 1 | B |  |  | K | 4
1A1B | 10P14N01-1 | P14N NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (8 I/P & 8 O/P) | 1 | A | 2 | 0 |  |  | L | 3
1A20 | 10P14N03-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH ETHERNET | 1 | A | 2 | 6 |  |  | M | 4
1A26 | 10P14N03-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH ETHERNET | 1 | A | 2 | 6
1A26 | 10P14N03-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH ETHERNET | 1 | A | 2 | B
1A2B | 10P14N03-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH ETHERNET | 1 | A | 3 | 0
1A30 | 10P14N03-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 1 | A | 3 | 6
1A36 | 10P14N03-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 1 | A | 3 | B
1A3B | 10P14N03-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 1 | A | 4 | 0
1A40 | 10P14N03-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 1 | A | 4 | 6
1A46 | 10P14N03-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 1 | A | 4 | 6
1A46 | 10P14N03-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 1 | A | 4 | B
1A4B | 10P14N03-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 1 | B | 1 | 0
1B10 | 10P14N05-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 | 1 | B | 1 | 6
1B16 | 10P14N05-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 | 1 | B | 1 | 6
1B16 | 10P14N05-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 | 1 | B | 1 | D
1B1D | 10P14N05-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 | 1 | B | 2 | 0
1B20 | 10P14N05-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 ETHERNET | 1 | B | 2 | 6
1B26 | 10P14N05-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 ETHERNET | 1 | B | 2 | 6
1B26 | 10P14N05-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 ETHERNET | 1 | B | 2 | D
1B2D | 10P14N05-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH 2 RS485 ETHERNET | 1 | B | 3 | 0
1B30 | 10P14N05-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL COPPER ETHERNET | 1 | B | 3 | 6
1B36 | 10P14N05-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL COPPER ETHERNET | 1 | B | 3 | 6
1B36 | 10P14N05-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL COPPER ETHERNET | 1 | B | 3 | D
1B3D | 10P14N05-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL COPPER ETHERNET | 1 | B | 4 | 0
1B40 | 10P14N05-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL FIBRE ETHERNET | 1 | B | 4 | 6
1B46 | 10P14N05-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL FIBRE ETHERNET | 1 | B | 4 | 6
1B46 | 10P14N05-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL FIBRE ETHERNET | 1 | B | 4 | D
1B4D | 10P14N05-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH 2 RS485 DUAL FIBRE ETHERNET | 1 | C | 1 | 0
1C10 | 10P14N07-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH TCS | 1 | C | 1 | 6
1C16 | 10P14N07-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH TCS | 1 | C | 1 | 6
1C16 | 10P14N07-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH TCS | 1 | C | 1 | C
1C1C | 10P14N07-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (11 I/P & 12 O/P) WITH TCS | 1 | C | 2 | 0
1C20 | 10P14N07-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH TCS & ETHERNET | 1 | C | 2 | 6
1C26 | 10P14N07-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH TCS & ETHERNET | 1 | C | 2 | 6
1C26 | 10P14N07-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH TCS & ETHERNET | 1 | C | 2 | D
1C2D | 10P14N07-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (11 I/P & 12 O/P) WITH TCS & ETHERNET | 1 | C | 3 | 0
1C30 | 10P14N07-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 1 | C | 3 | 6
1C36 | 10P14N07-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 1 | C | 3 | 6
1C36 | 10P14N07-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 1 | C | 3 | D
1C3D | 10P14N07-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 1 | C | 4 | 0
1C40 | 10P14N07-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 1 | C | 4 | 6
1C46 | 10P14N07-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 1 | C | 4 | 6
1C46 | 10P14N07-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 1 | C | 4 | D
1C4D | 10P14N07-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 1 | D | 1 | 0
1D10 | 10P14N09-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (13 I/P & 12 O/P) | 1 | D | 1 | 6
1D16 | 10P14N09-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (13 I/P & 12 O/P) | 1 | D | 1 | 6
1D16 | 10P14N09-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (13 I/P & 12 O/P) | 1 | D | 1 | C
1D1C | 10P14N09-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND EARTH FAULT (13 I/P & 12 O/P) | 1 | D | 2 | 0
1D20 | 10P14D09-2 | P14D DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) WITH ETHERNET | 1 | D | 2 | 0
1D20 | 10P14N09-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (13 I/P & 12 O/P) & ETHERNET | 1 | D | 2 | 6
1D26 | 10P14N09-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (13 I/P & 12 O/P) & ETHERNET | 1 | D | 2 | 6 | [5 empty] | 10P14D09-2
1D26 | 10P14N09-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (13 I/P & 12 O/P) & ETHERNET | 1 | D | 2 | D
1D2D | 10P14N09-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (13 I/P & 12 O/P) & ETHERNET | 1 | D | 3 | 0
1D30 | 10P14N09-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | D | 3 | 6
1D36 | 10P14N09-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | D | 3 | 6
1D36 | 10P14N09-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | D | 3 | D
1D3D | 10P14N09-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | D | 4 | 0
1D40 | 10P14N09-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | D | 4 | 6
1D46 | 10P14N09-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | D | 4 | 6
1D46 | 10P14N09-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | D | 4 | D
1D4D | 10P14N09-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & E/F (13 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | E | 1 | 0
1E10 | 10P14N12-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (3 I/P & 4 O/P) | 1 | E | 1 | 6
1E16 | 10P14N12-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (3 I/P & 4 O/P) | 1 | E | 1 | 6
1E16 | 10P14N12-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (3 I/P & 4 O/P) | 1 | E | 1 | C
1E1C | 10P14N12-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (3 I/P & 4 O/P) | 1 | F | 1 | 0
1F10 | 10P14N13-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (6 I/P & 8 O/P) WITH TCS | 1 | F | 1 | 6
1F16 | 10P14N13-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (6 I/P & 8 O/P) WITH TCS | 1 | F | 1 | C
1F1C | 10P14N13-1 | P14D NON DIRECTIONAL PHASE OVER CURRENT AND EARTH FAULT (6 I/P & 8 O/P) WITH TCS | 1 | H | 1 | 0
1H10 | 10P14N14-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 | 1 | H | 1 | 6
1H16 | 10P14N14-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 | 1 | H | 1 | 6
1H16 | 10P14N14-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 | 1 | H | 1 | C
1H1C | 10P14N14-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 | 1 | H | 2 | 0
1H20 | 10P14N14-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) +2 x RS485 & ETHERNET | 1 | H | 2 | 6
1H26 | 10P14N14-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) +2 x RS485 & ETHERNET | 1 | H | 2 | 6
1H26 | 10P14N14-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) +2 x RS485 & ETHERNET | 1 | H | 2 | D
1H2D | 10P14N14-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) +2 x RS485 & ETHERNET | 1 | H | 3 | 0
1H30 | 10P14N14-3 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT& EARTH FAULT (10 I/P & 12 O/P) + 2xRS485 & DUAL COPPER ETHERNET | 1 | H | 3 | 6
1H36 | 10P14N14-3 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT& EARTH FAULT (10 I/P & 12 O/P) + 2xRS485 & DUAL COPPER ETHERNET | 1 | H | 3 | 6
1H36 | 10P14N14-3 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT& EARTH FAULT (10 I/P & 12 O/P) + 2xRS485 & DUAL COPPER ETHERNET | 1 | H | 3 | D
1H3D | 10P14N14-3 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT& EARTH FAULT (10 I/P & 12 O/P) + 2xRS485 & DUAL COPPER ETHERNET | 1 | H | 4 | 0
1H40 | 10P14N14-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 1 | H | 4 | 6
1H46 | 10P14N14-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 1 | H | 4 | 6
1H46 | 10P14N14-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 1 | H | 4 | D
1H4D | 10P14N14-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 1 | J | 1 | 0
1J10 | 10P14N16-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) | 1 | J | 1 | 6
1J16 | 10P14N16-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) | 1 | J | 1 | 6
1J16 | 10P14N16-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) | 1 | J | 1 | C
1J1C | 10P14N16-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) | 1 | J | 2 | 0
1J20 | 10P14N16-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & ETHERNET | 1 | J | 2 | 6
1J26 | 10P14N16-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & ETHERNET | 1 | J | 2 | 6
1J26 | 10P14N16-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & ETHERNET | 1 | J | 2 | D
1J2D | 10P14N16-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & ETHERNET | 1 | J | 3 | 0
1J30 | 10P14N16-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | J | 3 | 6
1J36 | 10P14N16-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | J | 3 | 6
1J36 | 10P14N16-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | J | 3 | D
1J3D | 10P14N16-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 1 | J | 4 | 0
1J40 | 10P14N16-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | J | 4 | 6
1J46 | 10P14N16-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | J | 4 | 6
1J46 | 10P14N16-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 1 | J | 4 | D
1J4D | 10P14N16-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & EARTH FAULT (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 2 | A | 1 | 0
2A10 | 10P14N02-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) | 2 | A | 1 | 6
2A16 | 10P14N02-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) | 2 | A | 1 | 6
2A16 | 10P14N02-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) | 2 | A | 1 | B
2A1B | 10P14N02-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) | 2 | A | 2 | 0
2A20 | 10P14N04-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (8 I/P 8 O/P) WITH ETHERNET & OPTIONAL SHORTING LINK | 2 | A | 2 | 6
2A26 | 10P14N04-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (8 I/P 8 O/P) WITH ETHERNET & OPTIONAL SHORTING LINK | 2 | A | 2 | 6
2A26 | 10P14N04-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (8 I/P 8 O/P) WITH ETHERNET & OPTIONAL SHORTING LINK | 2 | A | 2 | B
2A2B | 10P14N04-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (8 I/P 8 O/P) WITH ETHERNET & OPTIONAL SHORTING LINK | 2 | A | 3 | 0
2A30 | 10P14N04-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 2 | A | 3 | 6
2A36 | 10P14N04-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 2 | A | 3 | 6
2A36 | 10P14N04-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 2 | A | 3 | B
2A3B | 10P14N04-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL COPPER ETHERNET | 2 | A | 4 | 0
2A40 | 10P14N04-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 2 | A | 4 | 6
2A46 | 10P14N04-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 2 | A | 4 | 6
2A46 | 10P14N04-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 2 | A | 4 | B
2A4B | 10P14N04-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (8 I/P & 8 O/P) WITH DUAL FIBRE ETHERNET | 2 | B | 1 | 0
2B10 | 10P14N06-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 | 2 | B | 1 | 6
2B16 | 10P14N06-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 | 2 | B | 1 | 6
2B16 | 10P14N06-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 | 2 | B | 1 | C
2B1C | 10P14N06-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 | 2 | B | 2 | 0
2B20 | 10P14N06-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 & ETHERNET | 2 | B | 2 | 6
2B26 | 10P14N06-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 & ETHERNET | 2 | B | 2 | 6
2B26 | 10P14N06-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 & ETHERNET | 2 | B | 2 | D
2B2D | 10P14N06-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH 2 RS485 & ETHERNET | 2 | B | 3 | 0
2B30 | 10P14N06-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL COPPER ETHERNET | 2 | B | 3 | 6
2B36 | 10P14N06-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL COPPER ETHERNET | 2 | B | 3 | 6
2B36 | 10P14N06-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL COPPER ETHERNET | 2 | B | 3 | D
2B3D | 10P14N06-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL COPPER ETHERNET | 2 | B | 4 | 0
2B40 | 10P14N06-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | B | 4 | 6
2B46 | 10P14N06-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | B | 4 | 6
2B46 | 10P14N06-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | B | 4 | D
2B4D | 10P14N06-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | C | 1 | 0
2C10 | 10P14N08-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH TCS | 2 | C | 1 | 6
2C16 | 10P14N08-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH TCS | 2 | C | 1 | 6
2C16 | 10P14N08-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH TCS | 2 | C | 1 | C
2C1C | 10P14N08-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (11 I/P & 12 O/P) WITH TCS | 2 | C | 2 | 0
2C20 | 10P14N08-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & ETHERNET | 2 | C | 2 | 6
2C26 | 10P14N08-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & ETHERNET | 2 | C | 2 | 6
2C26 | 10P14N08-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & ETHERNET | 2 | C | 2 | D
2C2D | 10P14N08-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & ETHERNET | 2 | C | 3 | 0
2C30 | 10P14N08-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 2 | C | 3 | 6
2C36 | 10P14N08-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 2 | C | 3 | 6
2C36 | 10P14N08-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 2 | C | 3 | D
2C3D | 10P14N08-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL COPPER ETHERNET | 2 | C | 4 | 0
2C40 | 10P14N08-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 2 | C | 4 | 6
2C46 | 10P14N08-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 2 | C | 4 | 6
2C46 | 10P14N08-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 2 | C | 4 | D
2C4D | 10P14N08-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (11 I/P & 12 O/P) WITH TCS & DUAL FIBRE ETHERNET | 2 | D | 1 | 0
2D10 | 10P14N10-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) | 2 | D | 1 | 6
2D16 | 10P14N10-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) | 2 | D | 1 | 6
2D16 | 10P14N10-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) | 2 | D | 1 | C
2D1C | 10P14N10-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) | 2 | D | 2 | 0
2D20 | 10P14N10-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH ETHERNET | 2 | D | 2 | 6
2D26 | 10P14N10-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH ETHERNET | 2 | D | 2 | 6
2D26 | 10P14N10-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH ETHERNET | 2 | D | 2 | D
2D2D | 10P14N10-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH ETHERNET | 2 | D | 3 | 0
2D30 | 10P14N10-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL COPPER ETHERNET | 2 | D | 3 | 6
2D36 | 10P14N10-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL COPPER ETHERNET | 2 | D | 3 | 6
2D36 | 10P14N10-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL COPPER ETHERNET | 2 | D | 3 | D
2D3D | 10P14N10-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL COPPER ETHERNET | 2 | D | 4 | 0
2D40 | 10P14N10-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL FIBRE ETHERNET | 2 | D | 4 | 6
2D46 | 10P14N10-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL FIBRE ETHERNET | 2 | D | 4 | 6
2D46 | 10P14N10-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL FIBRE ETHERNET | 2 | D | 4 | D
2D4D | 10P14N10-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (13 I/P & 12 O/P) WITH DUAL FIBRE ETHERNET | 2 | H | 1 | 0
2H10 | 10P14N15-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (10 I/P & 12 O/P) WITH 2 RS485 | 2 | H | 1 | 6
2H16 | 10P14N15-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (10 I/P & 12 O/P) WITH 2 RS485 | 2 | H | 1 | 6
2H16 | 10P14N15-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (10 I/P & 12 O/P) WITH 2 RS485 | 2 | H | 1 | C
2H1C | 10P14N15-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT AND SEF (10 I/P & 12 O/P) WITH 2 RS485 | 2 | H | 2 | 0
2H20 | 10P14N15-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + RS485 & ETHERNET | 2 | H | 2 | 6
2H26 | 10P14N15-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + RS485 & ETHERNET | 2 | H | 2 | 6
2H26 | 10P14N15-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + RS485 & ETHERNET | 2 | H | 2 | D
2H2D | 10P14N15-2 | 10P14N NON-DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + RS485 & ETHERNET | 2 | H | 3 | 0
2H30 | 10P14N15-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + 2 x RS485 & DUAL COPPER ETHERNET | 2 | H | 3 | 6
2H36 | 10P14N15-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + 2 x RS485 & DUAL COPPER ETHERNET | 2 | H | 3 | 6
2H36 | 10P14N15-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + 2 x RS485 & DUAL COPPER ETHERNET | 2 | H | 3 | D
2H3D | 10P14N15-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) + 2 x RS485 & DUAL COPPER ETHERNET | 2 | H | 4 | 0
2H40 | 10P14N15-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | H | 4 | 6
2H46 | 10P14N15-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | H | 4 | 6
2H46 | 10P14N15-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | H | 4 | D
2H4D | 10P14N15-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (10 I/P & 12 O/P) WITH 2 RS485 & DUAL FIBRE ETHERNET | 2 | J | 1 | 0
2J10 | 10P14N17-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) | 2 | J | 1 | 6
2J16 | 10P14N17-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) | 2 | J | 1 | 6
2J16 | 10P14N17-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) | 2 | J | 1 | C
2J1C | 10P14N17-1 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) | 2 | J | 2 | 0
2J20 | 10P14N17-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & ETHERNET | 2 | J | 2 | 6
2J26 | 10P14N17-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & ETHERNET | 2 | J | 2 | 6
2J26 | 10P14N17-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & ETHERNET | 2 | J | 2 | D
2J2D | 10P14N17-2 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & ETHERNET | 2 | J | 3 | 0
2J30 | 10P14N17-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 2 | J | 3 | 6
2J36 | 10P14N17-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 2 | J | 3 | 6
2J36 | 10P14N17-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 2 | J | 3 | D
2J3D | 10P14N17-3 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL COPPER ETHERNET | 2 | J | 4 | 0
2J40 | 10P14N17-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 2 | J | 4 | 6
2J46 | 10P14N17-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 2 | J | 4 | 6
2J46 | 10P14N17-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET | 2 | J | 4 | D
2J4D | 10P14N17-4 | P14N NON DIRECTIONAL PHASE OVERCURRENT & SEF (12 I/P & 12 O/P) & DUAL FIBRE ETHERNET
| 8 | J | 0 |  | 1 | 6 | 8 | A | D | N | Q | 1 | 6 | 8 | A | D | N | Q
1 | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | B |  |  | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | B | B | B | D | D | D | D
2 | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | C | 1 |  | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | C | C | C | E | E | E | E
3 | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | D | 1 |  | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog |  | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | D | D | D | E | F | F | F
4 | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | E | 1 |  | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog |  | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | E | E | E | E | G | G | G
5 | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | F | 1 |  | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog |  | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | F | F | F | E | H | H | H
6 | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | G |  |  | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog |  | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | G | G | G | E | J | J | J
7 | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | H |  |  | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog |  |  |  |  | H | H | H | E | J | J | J
8 | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | J |  |  | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog |  |  |  |  | J | J | J | E | J | J | J
9 |  | P | [9 empty] | P | P | P | P | P | P | P
10 |  | R | [9 empty] | R | R | R | R | R | R | R
11
12
13
14
15

## Date Drivers (hidden)
Key Date | 2026-08-07
| 2026-07-29 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-07
Model | Motor Protection Relay- Non directional | Motor Protection Relay- Non directional | Motor Protection Relay- Non directional | Motor Protection Relay- Non directional | Motor Protection Relay- Non directional
| Motor Protection Relay- Directional | Motor Protection Relay- Directional | Motor Protection Relay- Directional | Motor Protection Relay- Directional | Motor Protection Relay- Directional
| P24N | P24N | P24N | P24N | P24N
| P24D | P24D | P24D | P24D | P24D
Application Version | Base | Base | Base | Base | Base
| Base + 32, 79/25 reclose, df/dt frequency, 21FL fault locator | Base + 32, 79/25 reclose, df/dt frequency, 21FL fault locator | Base + 32, 79/25 reclose, df/dt frequency, 21FL fault locator | Base + 32/32N power, 79/25 reclose, df/dt frequency, 21FL fault locator | Base + 32/32N power, 79/25 reclose, df/dt frequency, 21FL fault locator
| Base + Autoreclose (79) | Base + Autoreclose (79) | Base + Autoreclose (79) | Base + 79 reclose | Base + 79 reclose
| Base + Autoreclose (79) + Check Sync (25) | Base + 79/25 reclose | Base + 79/25 reclose | Base + 79/25 reclose | Base + 79/25 reclose
|  |  |  | P14DL + TGFD transient ground fault (standard CT only)*** | P14DL + TGFD transient ground fault (standard CT only)***
| B | B | B | B | B
P14D | L | L | L | L | L
P14N | L | L | L | L | L
P94V | P | P | P | P | P
P14D |  |  |  | Z | Z
P14N
Current Transformer | Standard Earth (Ground) CT | Standard Earth (Ground) CT | Standard Earth (Ground) CT | Standard Earth (Ground) CT | Standard Earth (Ground) CT | 1
| Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT | Sensitive Earth (Ground) Fault CT | 2
| Voltage Only | Voltage Only | Voltage Only | Voltage Only | Voltage Only | 1
| 1 | 1 | 1 | 1 | 1
| 2 | 2 | 2 | 2 | 2
| 1 | 1 | 1 | 1 | 1
Hardware Options | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only) | EIA RS485 serial comms – with RJ45 Engineering Port (only)
| EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper | EIA RS485 serial comms and station bus Ethernet - Single channel RJ45 Copper
|  | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre | EIA RS485 serial comms and station bus Ethernet - Single channel fibre
|  | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45
|  | 2x EIA RS485 serial, 2x fibre Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45
|  | 2x EIA RS485 serial, 2x fibre Ethernet (configurable PRP/HSR/LLA) and 1x fibre | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 2x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber
|  |  |  | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x RJ45 Ethernet (configurable PRP/HSR/LLA) and 1x RJ45
|  |  |  | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45 | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x RJ45
|  |  |  | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber | 1x EIA RS485 serial, 2x fiber Ethernet (configurable PRP/HSR/LLA) and 1x fiber
| 2 | 2 | 2 | 2 | 2
| 5 | 5 | 5 | 5 | 5
| 5 | 6 | 6 | 6 | 6
| 5 | A | A | A | A
| 5 | B | B | B | B
| 5 | C | C | C | C
| 5 | C | C | D | D
| 5 | C | C | E | E
| 5 | C | C | F | F
|  |  |  | F | F
|  |  |  | F | F
|  |  |  | F | F
IO Opt | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog | 5 inputs (2 for Trip Circuit Supervision) + 7 outputs + 1 watchdog
| 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog | 8 inputs (2 for Trip Circuit Supervision) + 5 outputs + 1 watchdog
|  | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 11 inputs (2 for Trip Circuit Supervision) + 11 outputs + 1 watchdog
|  | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog | 14 inputs (2 for Trip Circuit Supervision) + 9 outputs + 1 watchdog
|  |  |  | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog | 16 inputs (4 for Trip Circuit Supervision) + 11 outputs + 1 watchdog
|  |  |  | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog | 22 inputs (4 for Trip Circuit Supervision) + 15 outputs + 1 watchdog
|  |  |  | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog | 30 inputs (6 for Trip Circuit Supervision) + 21 outputs + 1 watchdog
|  |  |  | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog | 24 inputs (6 for Trip Circuit Supervision) + 25 outputs + 1 watchdog
| B | B | B | B | B
| D | C | C | C | C
| D | D | D | D | D
| D | E | E | E | E
| D | E | E | F | F
| D | E | E | G | G
| D | E | E | H | H
| D | E | E | J | J
| D | E | E | P | P
| D | E | E | R | R
| D | E | E | J | J
| D | E | E | J | J
| D | E | E | J | J
Protocol | DNP3.0 / Modbus / IEC 60870-5-103 | DNP3.0 / Modbus / IEC 60870-5-103 | DNP3.0 / Modbus / IEC 60870-5-103 | DNP3.0 / Modbus / IEC 60870-5-103 | DNP3.0 / Modbus / IEC 60870-5-103
| IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103
| IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 with advanced cybersecurity Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 with advanced cybersecurity Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2 | IEC 61850 / DNP3.0 / Modbus / IEC 60870-5-103 + advanced cyber Level 2
| 2 | 2 | 2 | 2 | 2
| 3 | 3 | 3 | 3 | 3
| 4 | 4 | 4 | 4 | 4
Mounting | 20TE Flush (4 inch width) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales) | Software upgrade only (via Aftersales)
| Software upgrade only (via Aftersales) | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display (# P40AE front livery) | 20TE Flush (4 inch width) with text display | 20TE Flush (4 inch width) with text display
|  |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (IEC version)*
|  |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)* | 30TE Flush (6"), 6 function keys, 16 programmable LEDs and Color Graphical HMI (ANSI version)*
|  |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (IEC version)
|  |  |  | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version) | 30TE Flush (6"), 6 function keys, 16 programmable LEDs, Color Graphical HMI & Bay Control (ANSI version)
| B | 0 | 0 | 0 | 0
| 0 | B | B | B | B
| 0 | B | B | C | C
| 0 | B | B | E | E
| 0 | B | B | G | G
| 0 | B | B | N | N
Language | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | (English (UK) / English (US) / French / Spanish/ Russian / Turkish | (English (UK) / English (US) / French / Spanish/ Russian / Turkish
| English (UK) / English (US) / Polish / German | English (UK) / English (US) / Polish / German | English (UK) / English (US) / Polish / German | English (UK) / English (US) / Polish / German | English (UK) / English (US) / Polish / German
| 0 | 0 | 0 | 0 | 0
| 1 | 1 | 1 | 1 | 1
| 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0
Software | 08: Initial ReleaseRedundant Ethernet protocol options and IEEE 1588, extended I/O and languages* - Withdrawn | 08: Initial ReleaseRedundant Ethernet protocol options and IEEE 1588, extended I/O and languages* - Withdrawn | 08: Initial ReleaseRedundant Ethernet protocol options and IEEE 1588, extended I/O and languages* - Withdrawn | 08: Initial ReleaseRedundant Ethernet protocol options and IEEE 1588, extended I/O and languages* - Withdrawn | 08: Initial ReleaseRedundant Ethernet protocol options and IEEE 1588, extended I/O and languages* - Withdrawn
|  | 03: Fast CB Fail reset, IEC61850 LN additions, other SW improvements | 03: Fast CB Fail reset, IEC61850 LN additions, other SW improvements | 03: Fast CB Fail reset, IEC61850 LN additions, other SW improvements | 03: Fast CB Fail reset, IEC61850 LN additions, other SW improvements
|  |  | 05: 30TE, TGFD, YN, 32N, 27Q/T, 21BL, extended I/O, IEC61850 & advanced cybersecurity enhancements | 05: 30TE, TGFD, YN, 32N, 27Q/T, 21BL, extended I/O, IEC61850 & advanced cybersecurity enhancements | 05: 30TE, TGFD, YN, 32N, 27Q/T, 21BL, extended I/O, IEC61850 & advanced cybersecurity enhancements
|  |  | 06: Moving Avg. Voltage Protection, Volt/Hertz (P94VB), IEC61850 LN & SW enhancements | 06: Moving Avg. Voltage Protection, Volt/Hertz (P94VB), IEC61850 LN & SW enhancements | 06: Moving Avg. Voltage Protection, Volt/Hertz (P94VB), IEC61850 LN & SW enhancements
| 08 | 08 | 08 | 08 | 08
| 08 | 08 | 08 | 08 | 08
| 08 | 08 | 08 | 08 | 08
| 08 | 08 | 08 | 08 | 08
Customisation / Regionalisation | Regular (IEC standards and 50Hz/1 amp based default settings) | Regular (IEC standards and 50Hz/1 amp based default settings) | Regular (IEC standards and 50Hz/1 amp based default settings) | Regular (IEC standards and 50Hz/1 amp based default settings) | Regular (IEC standards and 50Hz/1 amp based default settings)
| Customer specific | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration | IEEE market default configuration - US English, 60Hz and 5 amp preconfiguration
|  | Customer specific | Customer specific | Customer specific | Customer specific
| 0 | 0 | 0 | 0 | 0
| A | 6 | 6 | 6 | 6
|  | A | A | A | A